- Mount Cantilever
- Laser Alignment (Knobs and Camera )
- Detector & Mirror Alignment (Knobs and Detector )
  - SUM ~ 2.0 V
- Chose Measurement Mode: AC / Contact / QI / Force Modulation
- Cantilever Calibration → Choose Cantilever
- AC Feedback Mode Wizard
  - Usually Point = 70-80% of Drive Amplitude
  - Drive Frequency: choose slightly left of the maximum

- Navigate to Sample and Approach next to surface
  - Engage/disengage X/Y stage to navigate OR approach

- Approach and Measure
  - Adjust GAIN in a way that trace & retrace superpose (oscilloscope)
  - the higher the sample or velocity of cantilever line rate (line rate/x-y-dimension)
    the higher the gain has to be.